## Slide 1
Nanova
Main Screen
Method
Calibrate
Report
Data Analysis
Library
Create a method: input all the parameters
Create a calibration curve
Do the calibrate tests
List Page
(PDF file) : Search/Sort functions
Select a raw data or processed data
VOC List
(VOC information): Search/Sort functions
Generate a PDF report
Modify a method: select a saved method and change the parameters
Generate calibration curves and table
Data process:
Manually select a peak; Unselect a peak; Move & adjust the peak window; Calculate SNR; Adjust baseline treatment parameters; ……
Software Work Flow
Test
Select a method and calibration curve, input sampling time
Show the graph
Generate a result table with the selected calibration
Start the test
Save the curves or redo the calibration
View an existing calibration curve (List page)
Search/Sort functions
Redo the calibration or go to test
Run the test
Run the test
Run the test
Save or save as the processed data