- BTEX 40ppbv 2min

- Air after filter

(Probably residue from sampling tube)

Disconnect sampling tube, inject, still have residue for the first sample on the other day.

The residue is from the precon

- BTEX 40ppbv 0.2 min

- BTEX 40ppbv 0.5min

- BTEX 40ppbv 1min

- BTEX 40ppbv 5min

- Air after filter